Test for HOA docs

For what it’s worth, a few points I suggest our answer might include:

- The ground floor area of the proposed detached garage must be a minimum of __________ square feet. [MH: What do the rest of you think of at least 500 sq. ft. (20’ x 25’)?]

- Must be on a permanent, reinforced concrete foundation.

- The exterior roof and walls should match the existing cabin. (Any materials proposed which are different from those approved and used for building the cabin must be identified and submitted to the Committee for review and approval prior to beginning construction.)

- Must comply with all other applicable aspects of the CC&Rs (40’ height limitation; cannot be a prefabricated/modular building, etc.)

Just a few of my ideas.

Sincerely,

Mike Hunter